## 1
mudmivi operatiuli denis karada ШОТ-220
parametrebis dasaxeleba |  |  |  | parametri
Semavali parametrebi | damoukidebel SemyvanTa raodenoba, c |  |  | 2
| Zabva, v |  |  | ~ 220 ± 15%
gammarTvel-dammuxti bloki | raodenoba |  |  | 2
gamomavali parametrebi | gamavali seqciebis raodenoba, c |  |  | 2
| dammuxti mowyobilobis gamomavali deni, a |  |  | 10
| gamomavali Zabva, v |  |  | = 220
| saakumuliatoro batareis tevadoba, a sT |  |  | 50
| saakumuliatoro batareiis eqspluataciis vada, weli |  |  | 15
sqemis varianti | seqcionirebis gareSe | ori paralelurad momuSave damuxti mowyobiloba |  | -
|  | erTi dasamuxti mowyobiloba - Semyvanebze rezervis avtomaturi CarTviT |  | -
|  | erTi dasamuxti mowyobiloba - meore sarezervo damuxti.Semyvanebze rezervis avtomaturi CarTva |  | -
| seqcionirebiT | ori paralelurad momuSave damuxti mowyobiloba. TiToeuli muSaobs damoukideblad sxvadasxva seqciebze |  | diax
Semyvani, avtomaturi amomrTvelebi | avtomaturi amomrTvelebis raodenoba, c |  |  | 2
| avtomaturi amomrTvelebis nominaluri deni, a |  |  | 50
| avtomaturi amomrTvelebis mdgomareobis Sesaxeb signalze gasvla diax/ ara |  |  | diax
| avtomaturi amomrTvelebis mdgomareobis cvlilebisas signalze gasvla diax/ ara |  |  | -
gamavali xazebze avtomaturi amomrTvelebi | 1 seqciis avtomaturi amomrTvelebis raodenoba, c |  |  | 10
| 1 seqciis avtomaturi amomrTvelebis nominaluri deni, (2c) a |  |  | 16
| 1 seqciis avtomaturi amomrTvelebis nominaluri deni, (8c) a |  |  | 10
| 2 seqciis avtomaturi amomrTvelebis raodenoba, c |  |  | 10
| 2 seqciis avtomaturi amomrTvelebis nominaluri deni, (2c) a |  |  | 16
| 2 seqciis avtomaturi amomrTvelebis nominaluri deni, 8c) a |  |  | 10
| avtomaturi amomrTvelebis mdgomareobis Sesaxeb signalze gasvla (diax/ara) |  |  | diax
| avtomaturi amomrTvelebis mdgomareobis cvlilebisas signalze gasvla (diax/ara) |  |  | -
| signalis gasvla klemaze, (diax/ara) |  |  | diax
salteTa izoliaciis winaRoba | mudmivi denis salteTa izoliaciis kontroli, (diax/ara) |  |  | diax
| gamavali xazebisaTvis miwasTan mokle SerTvis moZebna, (diax/ara) |  |  | diax
sakabelo Sesvla | Sesvla /gasvla |  | maRlidan, (diax/ara) | -
|  |  | qvemodan, (diax/ara) | diax
karadis Sesrulebaze moTxovnebi | korpusis dacvis xarisxi, IP 20…, 54 |  |  | IP54
| karadaSi gamaTboblis arseboba (diax/ara) |  |  | diax
damatebiTi moTxovnebi: ~ 220v Zabvis kontroli da Zabvis awevisgan dacva / yvela uwesivrobebis signalizacia

## 2
Questionnaire for Rectifier cabinet for auxillary direct current
Designation
Input Parameters | Number of inlets, ( выпрямительный блок) pc |  |  | 2
| Voltage, V |  |  | ~ 220 ± 15%
Rectifier charger | pc |  |  | 2
Output parameters | Number of outgoing sections, pc |  |  | 2
| Output current of charging device, pc |  |  | 10
| Output Voltage, V |  |  | = 220
| Capacity of accumulator, A.h |  |  | 50
| Life time of accumulator battery, Year |  |  | 15
Scheme Options | Without sectioning | Two or more charger working in parallel mode |  | -
|  | One chrager with RSD on income |  | -
|  | One Cherge is main, another Hot standby, RSD on incoming |  | -
| With Sectioning | Two charger are working in parallel mode, On their sections |  | Yes
Inlet MCB | Number of MCB's, pc |  |  | 2
| Rated Current of MCB, A |  |  | 50
| Presence of MCB's position signaling, Yes/No |  |  | Yes
| Presence of signaling of MCB's actuation , Yes/No |  |  | -
Outgoing MCB | Number of MCB's on 1 section, pc |  |  |  | 10
| Rated Current of MCB, (2 pc) A |  |  |  | 16
| Rated Current of MCB, (8pc) A |  |  |  | 10
| Number of MCB's on 2 section, pc |  |  |  | 10
| Rated Current of MCB, (2 pc) A |  |  |  | 16
| Rated Current of MCB, (8 pc) A |  |  |  | 10
| Presence of MCB's position signaling, Yes/No |  |  | Yes
| Presence of signaling of MCB's actuation , Yes/No |  |  | -
| withdraw of annunciators on terminals, Yes/No |  |  | Yes
Dielectric resistance of bus bars | insulation monitoring device, Yes/No |  |  | Yes
| Troubleshooting of earthed outgoing lines, Yes/No |  |  | Yes
Cable Connections | Inlet/Outlet |  | From above through gland, Yes/No | -
|  |  | From down through gland, Yes/No с | Yes
| Degree of protection IP 20….54 |  |  | IP54
| Heating, Yes/No |  |  | Yes
Additional Conditions: