# Description:

- Bunker doors interior with electromechanical drive, rotational, with shielding thickness:

DOOR TrueBeam

Shielding:	Pb 50 mm, BPE 100 mm

Dimensions of the concrete opening:	w 1 450 mm, h 2 100 mm

Dimensions of the door leaf:	w 1 750 mm, h 2 200 mm

Dimensions of the door leaf overlaps the concrete opening by cca. 150mm (at each side) and 100 mm on the top.

- Bunker doors interior with electromechanical drive, rotational, with shielding thickness:

DOOR Halcyon

Shielding:	Pb 7 mm

Dimensions of the concrete opening:	w 1 450 mm, h 2 100 mm

Dimensions of the door leaf:	w 1 750 mm, h 2 200 mm

Dimensions of the door leaf overlaps the concrete opening by cca. 150mm (at each side) and 100 mm on the top.

Each door must be provided with an emergency opening manual,

detailing the procedure for manual or mechanical door opening in the event of power failure or system malfunction.