Technical Specifications

Regarding the arrangement of thermal insulation and waterproofing of the pedestal of the filtration building

Customer: JSC "RMG Copper".

General data: JSC "RMG Copper" plans to construct a building of industrial importance, the pedestal of which requires thermal insulation and waterproofing.

Description of works:

1. Thermal insulation and waterproofing of the building's pedestal must be performed in full compliance with the applicable standards in this field;

2. Thermal insulation and waterproofing design solutions are included in the above technical specifications, however, the company is also considering more modern and effective solutions for the implementation of these works;

3. The works shall be carried out on an area of ​​approximately 223 sq/m.

The Customer's obligation:

- To grant the Contractor access to the building;

- To provide the Contractor with reinforced concrete structures and architectural designs.

Requirements for the contractor:

- To have experience working in the specified direction;

- To have qualified personnel;

- To submit their own version of technical solutions for the above works (preferably several)

- It is necessary to indicate the price per 1 sq/m for each solution, as well as the estimated time for the full implementation of all works;

- To indicate the warranty period for the work performed.

Attachment:

- Sample design solution for thermal insulation and waterproofing from the architectural design of the building.