****

**Electronic Tender Documentation**

**Procurement of PVC-U Pipes for 8 Rehabilitation Projects**

**1.1 Name of the procurement object**

Georgian Water and Power Ltd (GWP, ID 203826002) announces an electronic tender for:

* **Procurement of PVC-U Pipes for 8 Rehabilitation Projects**

**1.2. Description of service / work (technical assignment), quantity/volume of the procurement object**

Quantity and specification are given in **Annex N1.**

**Technical assignment**

1. The supplier must consider hiring a quality control company (Bureau Veritas Georgia LLC or SGS or a company working in a similar direction) the service fee should be considered by the supplier in the unit price. The quality control company must control/check and document the following items:

* Compliance of production with standards
* Compliance of raw materials with standards
* Set must include rubbers.
* The length of each pipe – 6 meters
* Compliance of the production, transportation, and delivery schedule with the agreed conditions provided in the contract
* Preliminary verification of all necessary documentation before transportation

2. Adherence to the delivery schedule provided in the contract is a necessary condition - each violation of the schedule is determined by a one-time fine of 5,000 GEL (for each violation), and 1,000 GEL will be added to the fine for each overdue day.

3. warranty is mandatory and more is preferable

4. 20% advance is given based on bank guarantee (the advance can be increased if the quality control company confirms the rationality of the increase of the deposit, in accordance with the step-by-step instructions).

5. A guarantee of 5 percent of the performance of the contract is required (a bank guarantee must be issued by a bank licensed by Georgia or a bank of a member country of the Organization for Economic Cooperation and Development ("OECD") and must be valid for at **least 1 year after completion of works**.

6. The supplier is obliged to sign the contract according to the draft contract proposed by GWP

7. Pipe standards should be in accordance with EN 1452; DS/ISO DATA 7; EN ISO 15493; EN ISO 527-1; EN ISO 179-1/1eA; ISO 306; ISO 1183; ISO 527; ISO 1133; DIN 53752; DIN 52612.

**1.3 Estimation**

The bidder must submit the estimates according to Annex N1 in Excel format.

**1.4 Form and place of delivery of goods**

Georgian Water and Power Ltd (GWP) Place of delivery:

Warehouse of "Georgian Water and Power" Ltd - Rustavi City, Saint Nino Street N5.

**1.5 Payment terms**

Payment will be made by consignment, with non-cash payment within 30 (thirty) calendar days after receiving the goods and signing of the relevant acceptance certificate and / or relevant documents. In case of requesting an advance payment, you must submit an advance payment guarantee, which must be issued by a bank licensed by Georgia or a bank of a member country of the Organization for Economic Cooperation and Development (OECD).

**1.6 Data to be uploaded / submitted by the bidder in the electronic tender:**

1. Price table (in accordance with Annex N1);

2. Extract from the Register of Entrepreneurs and Non-Entrepreneurial (Non-Commercial) Legal Entities, which must be issued after the announcement of this electronic tender;

3. Consent to these tender conditions, for which a signed tender application must be submitted;

4. Information on the materials used Quality certificates issued by the relevant authorities.

5. The warranty must apply to the material

6. The supplier must present the quality certificates corresponding to the country where the material will be produced (ANSI, ASME, ASTM, API, MSS, ISO, EN, DIN, UNI, BS, GB, and TSEN), However the EN standard is mandatory for products.

7. Offer must be valid for – 45 days

**Note:**

1. All documents and / or information created by the bidder uploaded in the electronic tender must be signed by an authorized person (if necessary, a power of attorney must be uploaded);
2. All documents and / or information created by the bidder must be confirmed by the electronic signature of the authorized person or the electronic stamp of the company.
3. *If the bidder is a foreign enterprise that is not registered in Georgia, bidder can send the bid via e-mail, which is indicated in the contact information of this tender documentation.*
4. *Also, if some technical problem will arise, during bid submission on tender site, the bidder can send a proposal on the e-mail specified in the tender documents. We would like to state that the proposal must be submitted by e-mail no later* ***than 18:00 on October 6, 2025.***

**1.7 Signing a contract**

Within the framework of this e-tender, a single contract will be concluded in accordance with the draft contract and the tender proposal attached to this tender.

**1.8 Other requirements**

1.8.1 At the time of submission of the proposal, the bidder should not be:

• in the process of bankruptcy;

• In the process of liquidation;

• In a state of temporary suspension of activities.

1.8.2 Presentation of prices is allowed only in the national currency of Georgia (GEL). Prices should include all costs and taxes (including VAT) provided by this tender.

1.8.3 The bid submitted by the bidder must be valid for 45 calendar days from the date of receipt of bids.

1.8.4 The Procurer (Georgian Water and Power LLC (GWP, JSC 203826002) reserves the right to set the deadline for the tender, change the terms of the tender, notify the tender participants in a timely manner, or terminate the tender at any stage.

The Procurer (Georgian Water and Power Ltd (GWP, ID 203826002)) will identify the winning supplier to the Tender Commission and notify all participating companies of the decision. The Purchaser (Georgian Water and Power Ltd (GWP, ID 203826002)) is not obliged to provide the participating company with a verbal or written explanation of any decision regarding the competition.

The Purchaser (Georgian Water and Power LLC (GWP, ID 203826002)) reserves the right to verify any information received from the Bidders, as well as to obtain information about the Bidder Company or its activities. If it is proved that the information provided by the bidder is not true or falsified, the bidder will be disqualified.

Please note that the Purchaser (Georgian Water and Power Ltd (GWP, ID 203826002) will not receive any oral inquiries for additional information, except by telephone.

***Note: Any other information obtained by other means will not be official and does not give rise to any liability on the part of the Purchaser (Georgian Water and Power LLC (GWP, ID 203826002)).***

**Responsible Person**: Georgian Water and Power LLC (GWP), with Company ID 203826002, for personal data protection purposes - Personal Data Protection Officer, Head Office, 10 Medea (Mzia) Jugheli Street, Tbilisi 0179, Georgia, contact e-mail: [pdpo@gwp.ge](mailto:pdpo@gwp.ge). **Purpose of Data Processing**: To carry out an open-source analysis on the third party to assess the compliance risks in the potential relationship with said third party. **Legitimation**: Professional and/or commercial relationship. **Recipients**: Your data will not be transferred to any third party, except in compliance with a legal obligation or a legal right. **Retention**: Your data will be kept for the time necessary for the analysis of the company and, for the period of contractual relationship. Once completed, your personal data will be blocked during the periods allowed by laws. Once these periods have elapsed, they will be destroyed. **Rights**: You can exercise your rights of access, rectification, renewal, deletion, limitation or opposition to treatment and withdraw the consent given, by writing identified with the reference "Data Protection" to: Personal Data Protection Officer, Georgian Water and Power LLC, 10 Medea (Mzia) Jugheli Street, Tbilisi 0179, Georgia or by sending an e-mail under the same terms specified to: [pdpo@gwp.ge](mailto:pdpo@gwp.ge), in which you must specify the right you are exercising and be signed by you (either physically or electronically) or provide necessary information to be able to identify you. If we are unable to identify you, we may request additional information, including without limitation a copy of your ID card. The interested parties have the right to complain to the Personal Data Protection Service (www.personaldata.ge).

**1.9 Information for e-tender participants**

1.9.1 Any questions during the tender process must be in writing and the online Q&A mode of tenders.ge portal must be used;

1.9.2 To participate in the electronic tender, the company must be registered on the website [www.tenders.ge](http://www.tenders.ge)

1.9.3 Instructions for participation in the electronic tender on tenders.ge can be found in the attached file



**Contact information:**

Contact person for technical issues:

Giorgi Veshapidze, Mob: +995 595 33 93 30,

E-mail: [gveshapidze@gwp.ge](mailto:gveshapidze@gwp.ge)

Procurement representative

Contact person: Magda Lomtatidze

Address: Georgia, Tbilisi, Mtatsminda district, Medea (Mzia) Jugheli street, №10

E-mail Email: [mlomtatidze@gwp.ge](mailto:mlomtatidze@gwp.ge)

Tel: +995 322 931111; 595 22 66 94

Contact person: Mariam Silagadze

Address: Georgia, Tbilisi, Mtatsminda district, Medea (Mzia) Jugheli street, №10

E-mail Email: [msilagadze@gwp.ge](mailto:msilagadze@gwp.ge)

Tel: +995 322 931111 (1147); 599 72 30 03

**I got acquainted**

/ Signature of the authorized person of the participating company /