I&C Service Engineer, Ore Enrichment Plant Madneuli

Svintsov Stanislav

28 September 2025

TECHNICAL SPECIFICATION
For the procurement of a Pressure Sensor

| Item № | Parameter Name | Value |  |
| --- | --- | --- | --- |
| 1 | Customer | I&C Service, Ore Enrichment Plant Madneuli |  |
| 2 | Full name, position, phone, e-mail of the responsible executor / Customer’s representative | Svintsov S.P.., Engineer of I&C Service |  |
|  |  | Engineer of I&C Service |  |
|  |  | +995591957961 |  |
|  |  | SSvintsov@richmetalsgroup.com |  |
| 3 | Basis for procurement | Notice of unsuitability for use |  |
| 4 | Equipment name | Pressure Sensor |  |
| 5 | Quantity to be procured | 1 set |  |
| 6 | Technical characteristics, Requirements | Measured medium characteristics: |  |
|  |  | Name | Slurry, Water, Air |
|  |  | Temperature, Со | +30…+45 |
|  |  | Excess pressure, kPa | 100 to 101,3 kPa |
|  |  | Ambient characteristics: |  |
|  |  | Temperature, Со | +10…+35 |
|  |  | Humidity, % | 60…80 |
|  |  | Aggressiveness | yes |
|  |  | Dust presence | yes |
|  |  | Flowmeter characteristics: |  |
|  |  | Transducer type | Digital pressure transmitter with capacitive measuring cell and ceramic diaphragm |
|  |  | Process connection | Thread ISO228 G1/2 EN837, 316L |
|  |  | Power supply / Output signal | 4-20mA HART; extern + LCD |
|  |  | Measured parameters: | Liquids Air |
|  |  | Measuring range | 10bar/1MPa/150psi gauge;40bar/4MPa/600psi |
|  |  | Ambient temperature range | -40°C...85°C |
|  |  | Protection rating | IP66/67 NEMA6P |
|  |  | Display | yes |
|  |  | Connection | 4...20 mA HART PROFIBUS PA FOUNDATION Fieldbus |
|  |  | Error/inaccuracy | 0,075% Calibration "PLATINUM" 0.05% |
| 7 | Documentation | - Availability of operation and maintenance manual (documentation language – Russian, English). - Availability of type approval certificate for measuring instruments and calibration procedure – Not required. Availability of verification certificate (initially verified) – Not required. |  |
| 8 | Warranty period | Not less than 1 year |  |
| 9 | Additional conditions | None |  |
| 10 | Other requirements | None |  |

Hide details

Approval - Non-hazardous area

Output; Operating - 4-20mA HART; extern + LCD

Housing; Cover Sealing; Cable Entry - T14 Alu IP66/67 NEMA6P; EPDM; M20 gland, T14 = side cover (Ex d > M20 thread)

Sensor Range; Sensor Overload Limit - 10bar/1MPa/150psi gauge; 40bar/4MPa/600psi

Calibration; Unit - Sensor range; mbar/bar

Process Connection - Thread ISO228 G1/2 EN837, 316L

Seal - FKM

Additional Option 1 - HistoROM / M-DAT

Additional Option 2 - Not selected

Test, Certificate - Pressure test, internal procedure, inspection certificate

Marking - Tagging (TAG), see additional spec.