- Centrifugal pump Series: D 4000-95-2

- Q – Flow rate (m³/h): 3,200 m³/h

- H – Head (m): 55 m

- Power: 630 kW

- n – Rotational speed (rpm): 750 rpm

- Frame not required

- Engine not required

- Must be equipped with a coupling rated for a 630 kW motor/უნდა ქონდეს წყვილი ქურო 630კვტ ძრავზე გათვლილი.

Existing engine: A4-450Y-8Y3 high-voltage, three-phase, asynchronous AC electric motor with a power rating of 630 kW, a rotational speed of 750 rpm, and a voltage of 6,000 V./ А4-450Y-8Y3 — высоковольтный трехфазный асинхронный электродвигатель переменного тока мощностью 630 кВт, скоростью вращения 750 об/мин и напряжением 6000 В.