## Sheet2
N | Product name | Quantity | Unit | Unit price | Net amount | Currency | Supplier Company | Manufacturing Company | Manufacturing Country | Exact Brand and Model | Exact Brand and of the control panel | Exact Brand and of the Frequency Converter | Item Numbers | Exact specifications -what is included in the set and in the price | Link To the product Specs or Photos | Supervision of installation plus commissioning nd start-up included YES/NO | Delivery Time (Days) | Delivery Terms (DAP, CIP, Exw) | Pick-up address | Paymet Terms | Warranty Period | Bank Guarentee in case of advance payment YES/NO
1 | In-line pump (1+1 reserve configuration), capacity Q = 1 L/s, head H = 80 m. (3 phase) Complete with: automatic control panel with frequency inverter (VFD); dry-run protection relay; earth-fault protection relay, phase-loss protection relay; Also complete with discharge and suction manifolds D-50; pressure gauges on both discharge and suction manifolds; pressure sensor; 20-liter expansion tank;. Supervision of installation as well as commissioning and start-up works should be included in the price | 1 | set |  | 0
0
The pumps are meant to replace the existing pumping units
Please see photos attached to the tender to check the labels of the existing pumps
For each model please create the excel file describing the contents of the SET in details
For each model please send detailed technical passports
In case of providing ex work delivery terms you should provide Net and Gross weight of the goods, number and dimensions of the pallets and pick up address
Supervision of installation and commissioning should be included in the price of each model