Request: Welded gratings 300 metric cube

Dimensions per piece: 1500 X 1000mm

Description:

Bearing bar Mesh size: 34mm

Cross Bar mesh size: 38mm

Bearing Bar height: 30 mm

Bearing Bar Thickness:3 mm

Edges height: 30 mm

Edges Thickness:  3 mm

Hot Dip galvanized acc. to DIN EN ISO 1461

Material: S235 JR