## Sheet1
1 | Addressable type smoke detector | 402 | pcs
2 | Addressable Base | 690 | pcs
3 | Weatherproof base | 27 | pcs
4 | Remote LED Indicator | 134 | pcs
5 | Addressable type combined detector | 142 | pcs
6 | Addressable type heat high | 25 | pcs
7 | Addressable type monitor module | 59 | pcs
8 | Morley M200E-SMB Surface Mounting Box | 79 | pcs
9 | Addressable type control module | 20 | pcs
10 | Notifier WSS-PR-I02 Addressable Wall Mounted Sounder Beacon | 115 | pcs
11 | Horn with strobe light Ex proof | 5 | pcs
12 | Intrinsically Safe Galvanic Isolator Unit | 4 | pcs
13 | Addressable type call button | 55 | pcs
14 | Notifier Box MCP – Surface Mount | 55 | pcs
15 | Addressable type call button weatherproof | 2 | pcs
16 | Addressable type call button EX PROOF | 2 | pcs
17 | Analogue Addressable Monitor Module | 2 | pcs
18 | temperature cable | 210 | m
19 | Termination link set for Sensor cable | 1 | pcs
20 | temperature cable END OF LINE | 6 | pcs
21 | Termination link set for Sensor cable | 6 | pcs
22 | temperature cable END OF LINE Zone barrier | 6 | pcs
23 | temperature cable END OF LINE Zone barrier | 6 | pcs
24 | temperature cable END OF LINE Zone barrier | 6 | pcs
25 | Carbon monoxide gas detector | 6 | pcs
26 | Optical beam smoke detector (Beam Angle 45) | 12 | pcs
27 | Reflector for beam smoke detector | 16 | pcs
28 | OSID Anti-Condensation Film for Emitter | 10 | pcs
29 | Emergency PSU 24V | 6 | pcs
30 | 12V Batteries for Emergency PSU and panels | 18 | pcs
31 | Fire alarm panel, 8 loop, with battery and aux matterials | 1 | pcs
32 | Fire alarm panel, 6 loop, with battery and aux matterials | 1 | pcs
33 | Fire alarm panel, 2 loop, with battery and aux matterials | 1 | pcs
34 | ID2000 / ID3000 Dual Loop Board Kit | 3 | pcs
35 | RS485 Communication Card Kit for ID61, ID62, ID2000, ID2002, ID3000, ID3002 | 3 | pcs