TECHNICAL SPECIFICATIONS

- Airflow, m³/h: 32,000

- Dimensions (mm): 1060 × 1060

- Blade Diameter (mm): 910

- Connection Type: End connection, installation in wall opening

- Axial Fan Type: Industrial with shutters

- Motor: Synchronous (EC)

- Voltage, V/Hz/Ph: 380 / 50 / 3

- Rotational Speed, rpm: 540

- Noise Level, dB: 68

- Power Consumption, kW: 0.75

- Drive Type: Direct

- Rotation Speed Controller: Included

- Housing Material: Galvanized metal

- Blades: Stainless steel

- Shutters: Chrome-plated / galvanized steel

- Inertia Shutters: Yes

- Shutter Opening Mechanism: Inertia or mechanical

- Mechanical Ventilation Mode: Manual shutter opening with locking

- Advantages:

  - EC motor – at least 30% energy savings

  - Speed controller included

  - Direct drive

  - Ability to manually open shutters when the fan is off