მოხარული ვართ გაცნობოთ, რომ ჩვენი კომპანია გეგმავს ახალი საცალო მაღაზიის – KIKO MILANO–ს გახსნას, რომელიც განთავსდება მისამართზე: ბათუმი, დემეტრე თავდადებულის ქუჩა №16, საქართველო.

მაღაზიის გახსნის დაგეგმილი თარიღია 2026 წლის 26 მაისი, რაც ნიშნავს, რომ ობიექტის ბრენდის გუნდზე გადაცემა უნდა განხორციელდეს 2026 წლის 20 მაისამდე.

გთხოვთ, ყურადღებით გაეცნოთ თანდართულ დოკუმენტებსა და ინფორმაციას და წარმოადგინოთ თქვენი უკუკავშირი და კომერციული შეთავაზება არაუგვიანეს 2026 წლის 23 მარტისა, ვინაიდან პროექტის ვადები შეზღუდულია და დროის მიმართ სენსიტიურია.

ქვემოთ მოცემულია რამდენიმე მნიშვნელოვანი საკითხი, რომლებიც უნდა გაითვალისწინოთ როგორც ჩვენი შიდა მოთხოვნების, ასევე ჩვენი ბრენდის პარტნიორის მოთხოვნების შესაბამისად:

ტექნიკური კატალოგი

აუცილებელია, რომ სამშენებლო კონტრაქტორმა ყურადღებით გააანალიზოს მოწოდებული კატალოგი და ნებისმიერი გაურკვევლობის შემთხვევაში დასვას შეკითხვები ან გააკეთოს კომენტარები.
კატალოგი შეიცავს ყველა საჭირო განმარტებას მაღაზიის სწორად ასაწყობად.

ვადები / პროექტის გრაფიკი

გთხოვთ, გააანალიზოთ პროექტის ყველა კომპონენტი და წარმოადგინოთ სამუშაოების დეტალური გრაფიკი, რაც მოგვცემს საშუალებას კოორდინაცია გავუწიოთ ყველა სამშენებლო აქტივობასა და მიწოდებას, რომელიც საჭიროა მაღაზიის გახსნისთვის.

მასალების მიწოდების თარიღები

ჩვენთვის ძალიან მნიშვნელოვანია ვიცოდეთ, როდის იქნება საჭირო მასალების ადგილზე მიწოდება (იატაკის ფილები, ავეჯი, განათება, აუდიო/ვიდეო ტექნიკა), რათა სწორად დავგეგმოთ მათი ტრანსპორტირება და მიწოდება.

ტექნიკური შეხვედრები / კომუნიკაცია მშენებლობის პროცესში

• ბრენდის პარტნიორის წარმომადგენელი ეწვევა ობიექტს გენერალური კონტრაქტორის სამუშაოების დასრულებისა და ავეჯის მონტაჟის დაწყების შორის პერიოდში, თუ თქვენს მოთხოვნით უფრო ადრე ჩართვა არ იქნება საჭირო
• ყოველკვირეულად უნდა წარმოდგენილ იქნას სამშენებლო პროგრესის ფოტორეპორტი, რათა უზრუნველყოფილი იყოს პროექტის გრაფიკთან შესაბამისობა

მასალების მიწოდება

მასალების პასუხისმგებლობის გასამარტივებლად, გთხოვთ გაითვალისწინოთ, რომ ჩვენი კომპანია უზრუნველყოფს შემდეგს:
• განათების სანათები მხოლოდ გაყიდვების ზონისა და ავეჯისთვის. საწყობისა და ავარიული/უსაფრთხოების განათება უნდა უზრუნველყოს ადგილობრივად გენერალურმა კონტრაქტორმა
• იატაკის ფილები მხოლოდ გაყიდვების ზონისთვის. საწყობისა და ტუალეტის იატაკი უნდა მოეწყოს ადგილობრივად გენერალური კონტრაქტორის მიერ
• ავეჯი გაყიდვების ზონისთვის. საწყობის მეტალის თაროები უნდა უზრუნველყოს გენერალურმა კონტრაქტორმა
• აქსესუარები გაყიდვების ზონისთვის
• ბრენდის წარწერები და ლოგო (მონტაჟი უნდა განახორციელოს გენერალურმა კონტრაქტორმა)
• მულტიმედიური აღჭურვილობა (ტელევიზორები, აუდიო სისტემა, LED ეკრანი ვიტრინისთვის). მონტაჟი უნდა შესრულდეს გენერალური კონტრაქტორის მიერ
• ანტიკურდული სისტემა მოწოდებული და დამონტაჟებული იქნება ჩვენი გუნდის მიერ

სამუშაოების მოცულობა – გენერალური კონტრაქტორი / სამშენებლო გუნდი

გენერალური კონტრაქტორი პასუხისმგებელი იქნება დემონტაჟზე, სამშენებლო, MEP და მაღაზიის მოწყობის სამუშაოებზე, მათ შორის (მაგრამ არ შემოიფარგლება):
• არსებული ინტერიერის დემონტაჟი, მათ შორის ანტრესოლის ზონა, შენობის კონსტრუქციული მდგრადობის დარღვევის გარეშე
• პერიმეტრის გამაგრება MDF ფირფიტებით, საჭიროების შემთხვევაში, პროექტის ნახაზების მიხედვით
• სრული ელექტრო პროექტი, დატვირთვის გამოთვლების ჩათვლით ბრენდის მოთხოვნების შესაბამისად
• HVAC სისტემის პროექტირება ბრენდის სპეციფიკაციების გათვალისწინებით. ჰაერის გამანაწილებლების დიზაინი უნდა შეთანხმდეს ბრენდის პარტნიორთან
• კონდიცირების სისტემის მონტაჟი, ლაინერის დიზაინის შეთანხმებით ბრენდის პარტნიორთან
• ხანძარსაწინააღმდეგო და აღმოჩენის სისტემის პროექტირება (მათ შორის კვამლის დეტექტორები, საევაკუაციო ნიშნები და ავარიული განათება) – ბრენდის დამტკიცებით
• განათების მონტაჟი (ზემოთ აღნიშნულის შესაბამისად, მხოლოდ გაყიდვების ზონის სანათები არის ჩვენი მხრიდან მოწოდებული)
• უსაფრთხოების სისტემების (სიგნალიზაცია და CCTV) კოორდინაცია, ვადების შეთანხმებით ჩვენს გუნდთან
• ავეჯისა და მულტიმედიური სისტემების აწყობა
• გიფსოკარდონის სამუშაოები
• სამღებრო სამუშაოები
• ვინილის გრაფიკა ან კედლის გამოსახულებები
• ვიტრინის მონტაჟი
• სარკეების მონტაჟი
• კარების მონტაჟი
• მაღაზიის სრულად დასასრულებლად საჭირო ყველა სამუშაო

სამშენებლო სამუშაოების შემდგომი დასუფთავება

უნდა შესრულდეს გენერალური/სამშენებლო კონტრაქტორის მიერ, პროდუქციის მაღაზიაში მიწოდებამდე.

We are pleased to inform you that our company intends to open a new retail store KIKO MILANO, located at 16 Demetre Tavdadebuli Street, Batumi, Georgia

The planned store opening date is May 26, 2026, which means the handover to the Brand Team must take place by May 20, 2026

Please carefully review the information and documents provided in the attachments and submit your feedback and commercial offer no later than March 23, 2026, as the project timeline is limited and time-sensitive

Below you may find several important points to consider in accordance with both our internal requirements and those of our Brand Partner

TECHNICAL CATALOGUE

It is essential that the Construction Contractor carefully analyzes the provided catalogue and raises any questions or comments in case of doubts
The catalogue contains all necessary explanations for the correct assembly of the shop

TIMINGS / PROJECT SCHEDULE

Please analyze all elements of the project and provide a detailed timetable of works, allowing us to coordinate and schedule all construction activities and deliveries required for the store opening

MATERIALS DELIVERY DATES

It is very important for us to know when materials will be required on site (floor tiles, furniture, lighting, audio/video equipment), so that we can properly arrange shipment and delivery

TECHNICAL MEETINGS / COMMUNICATION DURING SHOPFITTING

• A Brand Partner representative will visit the site between the completion of the general contractor’s works and the start of the furniture installation unless earlier assistance is required at your request

• On a weekly basis, photo reports of the construction progress must be submitted to ensure alignment with the project timeline

MATERIAL SUPPLY

For clarity regarding material responsibilities, please note that our company will supply the following items:

• Lighting fixtures for the sales area and furniture only. Lighting for the warehouse and emergency/safety lighting must be supplied locally by the General Contractor
• Floor tiles for the sales area only. Flooring for warehouse and toilet areas must be arranged locally by the General Contractor
• Furniture for the sales area. Warehouse metal shelving must be supplied locally by the General Contractor
• Accessories for the sales area
• Brand lettering and logo signage (installation to be performed by the General Contractor)
• Multimedia equipment (TVs, sound system, LED screen for shop window). Installation to be carried out by the General Contractor
• Anti-theft equipment will be supplied and installed by our team

SCOPE OF WORKS – GENERAL CONTRACTOR / CONSTRUCTION TEAM

The General Contractor will be responsible for all demolition, construction, MEP works, and shopfitting activities, including but not limited to the following:

• Demolition of the existing fit-out, including the mezzanine area, ensuring that the structural stability of the building is not compromised
• Perimeter reinforcement with MDF boards, where required, according to the design drawings
• Full Electrical Project, including load calculations in accordance with brand requirements
• HVAC system design, considering Brand specifications. Diffuser design must be approved by the Brand Partner
• Air-conditioning system installation, with liner design to be agreed with the Brand Partner
• Fire prevention and detection system design, including smoke detectors, fire exit signage, and emergency lighting (subject to Brand approval)
• Installation of lighting fixtures (as noted above, only sales-area fixtures are supplied by us)
• Coordination for security systems (alarm and CCTV), including timeline alignment with our team
• Furniture and multimedia system assembly
• Gypsum board works
• Painting works
• Vinyl graphics or wall images inside the shop
• Shop window installation
• Mirrors installation
• Doors installation
• General shopfitting works required for store completion

POST CONSTRUCTION CLEANING

To be performed by General/Construction Contractor, prior to the product delivery to the store