## Sheet2
N | Pumping station | Product name | Pump model | Purchase designation | Power of Pump-unit, KW | Flow Q, m3/h | Head, meter | Quantity | Unit | Unit price | Net amount | Currency | Supplier Company | Manufacturing Company | Manufacturing Country | Exact Brand and Model | Item Number | Exact specifications | Link To the product Specs or Photo | Supervision of installation and commissioning included YES/NO | Delivery Time (Days) | Delivery Terms (DAP, CIP, Exw) | Pick-up address if necessary | Paymet Terms | Warranty Period | Bank Guarentee in case of advance payment YES/NO | Compliance Questionnairs filled out YES/NO
1 | Elia | MVIE808-1/16/E/3-2 | Helix2.0-VE 1009-2/25/V/KS/3 | Pump+motor | 5.5 | 24 | 80 | 1 | PCS |  | 0
2 | Mukhiani_4b.mr_ 42 building | MVI5204-3/16/E/3-400-50-2 | Helix V 5203-2/16/V/KS/400-50 | Pump+motor | 11 | 45 | 50 | 1 | PCS |  | 0
3 | Dolidze_11 building | MVI 3204/CC-WMS | Helix V 3604-1/16/E/KS/400-50 | Pump+motor | 11 | 45 | 50 | 1 | PCS |  | 0
4 | Temka_4mr_8 building | MVI 7003/CC-WMS | Helix V 8003-2/16/E/KS/400-50 | Pump+motor | 18.5 | 80 | 50 | 1 | PCS |  | 0
5 | Gldani_2mr_ 37 building | MVI5203-3/16/E/3-400-50-2 | Helix V 5202-1/16/E/KS/400-50 | Pump+motor | 7.5 | 58 | 30 | 1 | PCS |  | 0
6 | Sairme's gora-2 building | MVI5203-3/16/E/3-400-50-2 | Helix V 5202-1/16/E/KS/400-50 | Pump+motor | 7.5 | 54 | 30 | 1 | PCS |  | 0
7 | Tkhinvala I | Helix V2209-2/25/V/KS/400-50/B | Helix V 2209-2/25/V/KS/400-50 | Pump+motor | 11 | 21 | 130 | 2 | PCS |  | 0
8 | Bagebi_Kaklebi | Helix V1612-1/25/E/KS/400-50 | Helix V 1612-1/25/E/KS/400-50 | Pump+motor | 9 | 18 | 120 | 2 | PCS |  | 0
0
The pumps are meant to replace the existing pumping units
For each model please create the excel file describing the contents of the SET in details
For each model please send detailed technical passports
In case of providing ex work delivery terms you should provide Net and Gross weight of the goods, number and dimensions of the pallets and pick up address
Supervision of installation and commissioning should be included in the price of each model