## Weekly
Preventive Maintenance Checklist For Escalators and Travellators ES-1
Report Form
Performed By: |  |  | Periodicity: Weekly
Unit ID: |  |  | Performing duration:
Unit Serial No: |  |  | Date of service:
N | Performance Description | Technical Requirement | Check | Notes/Remarks
1. Preparation works
1.1 | Inform appropriate persons regarding escalator stop and make remarks in log | Tools and PPE should be chosen properly, for this type of works. | □
1.2 | Prepare proper Tools and PPE |  | □
2. Basic maintenance that should be performed on a weekly basis to maintain the escalator.
2.1 | Clean comb fingers, check condition and alignment. | Comb fingers shouldn't be bent and properly aligned | □
2.2 | Clean Comb plate and gap. |  | □
2.3 | Check Steps & Risers for damage. |  | □
Safety procedures:
1. Use proper PPE (Personal Protective Equipment): Gloves, Goggles, helmet, Safety boots, safety belts for work higher than 1.8m, Noise protection earplugs.
გამოყენებული უნდა იქნას სათანადო პდს (პერსონალური დაცვის საშუალებები): ხელთათმანები, დამცავი სათვალეები, ჩაფხუტი, დაცული ფეხსაცმელი, უსაფრთხოების ქამრები 1.8მ–ზე მაღალ სიმაღლეებზე მუშაობისას, ხმაურის საწინააღმდეგო ყურსაცობი.
2. Make sure maintained area floor is not slippery.
სამუშაო ადგილზე იატაკი არ უნდა იყოს სრიალა
3. Use special protective equipment for hard to access and confined spaces work locations. Decided by safety manager;
გამოყენებული უნდა იყოს სპეციალური პდს (პერსონალური დაცვის საშუალებები) ზნელად შესაღწევ და შეზრუდულ არეაში მუშაობის დროს. გადაწყვეტილება მიიღება შრომის უსაფრთხოების მენეჯერის მიერ.
4. Make sure all tools are in proper condition.
დარწმუნდით, რომ ყველა ინსტრუმენტი კარგ კონდიციაშია
5. Use proper PPE for work locations by thermal and combustion air.
გამოყენებული უნდა იქნას სათანადო პდს (პერსონალური დაცვის საშუალებები) სადაც ხდება თერმიული პროცესები.
Tools and equipment
1. Mechanical set of tools; /მექანიკური ინსტრუმენტების ნაკრები.
2. Cleaning rags and solutions; /საწმენდი ნაჭრები და საშუალებები
3. Vacuum cleaner; /მტვერსასრუტი
Repair works to be performed/ საჭირო სარემონტო სამუშაოების ჩამონათვალი : 1)
VT Supervisor : Paata Pataridze |  |  | Sign: | Date:
Service provider: |  |  | Sign: | Date:

## Two weeks
Preventive Maintenance Checklist For Escalators and Travellators ES-2
Report Form
Performed By: |  |  | Periodicity: Two Weeks
Unit ID: |  |  | Performing duration:
Unit Serial No: |  |  | Date of service:
N | Performance Description | Technical Requirement | Check | Notes/Remarks
1. Preparation works
1.1 | Inform appropriate persons regarding escalator stop and make remarks in log | Tools and PPE should be chosen properly, for this type of works. | □
1.2 | Prepare proper Tools and PPE |  | □
2. Basic maintenance that should be performed on a Two weeks basis to maintain the escalator. Alignment.
2.1 | Clean comb fingers, check condition and alignment. | Comb fingers shouldn't be bent and properly aligned | □
2.2 | Clean Comb plate and gap. |  | □
2.3 | Check step Risers for damage. |  | □
2.4 | Clean Floorplate and inspect for damage. | Presence of dirt and damage is not allowed | □
2.5 | Clean and check Handrails condition. | Presence of dust and damage is not allowed | □
2.5 | Check condition of steps, check alignment, examine wheels, tighten step nuts and clean. | Alignment shouldn't be exceeds 1mm | □
2.6 | Check lubricator oil level | Add if abnormal | □
Safety procedures:
1. Lockout/tagout the unit electrical, flammable and mechanical source;
გამოირთოს და ჩაიკეტოს ყველა ელექტრო, აალებადი და მექანიკური მიწოდებები;
2. Use proper PPE (Personal Protective Equipment): Gloves, Goggles, helmet, Safety boots, safety belts for work higher than 1.8m, Noise protection earplugs.
გამოყენებული უნდა იქნას სათანადო პდს (პერსონალური დაცვის საშუალებები): ხელთათმანები, დამცავი სათვალეები, ჩაფხუტი, დაცული ფეხსაცმელი, უსაფრთხოების ქამრები 1.8მ–ზე მაღალ სიმაღლეებზე მუშაობისას, ხმაურის საწინააღმდეგო ყურსაცობი.
3. Make sure maintained area floor is not slippery.
სამუშაო ადგილზე იატაკი არ უნდა იყოს სრიალა
4. Use special protective equipment for hard to access and confined spaces work locations. Decided by safety manager;
გამოყენებული უნდა იყოს სპეციალური პდს (პერსონალური დაცვის საშუალებები) ზნელად შესაღწევ და შეზრუდულ არეაში მუშაობის დროს. გადაწყვეტილება მიიღება შრომის უსაფრთხოების მენეჯერის მიერ.
5. Make sure all tools are in proper condition.
დარწმუნდით, რომ ყველა ინსტრუმენტი კარგ კონდიციაშია
6. Use proper PPE for work locations by thermal and combustion air.
გამოყენებული უნდა იქნას სათანადო პდს (პერსონალური დაცვის საშუალებები) სადაც ხდება თერმიული პროცესები.
Tools and equipment
1. Mechanical set of tools; /მექანიკური ინსტრუმენტების ნაკრები.
2. Cleaning rags and solutions; /საწმენდი ნაჭრები და საშუალებები
3. Vacuum cleaner; /მტვერსასრუტი
4. Lubricant; საპოხი საშუალება;
Repair works to be performed/ საჭირო სარემონტო სამუშაოების ჩამონათვალი : 1)
VT Supervisor : Paata Pataridze |  |  | Sign: | Date:
Service provider: |  |  | Sign: | Date:

## Monthly
Preventive Maintenance Checklist For Escalators and Travellators ES-01
Report Form
Performed By: |  |  | Periodicity: Monthly
Unit ID: |  |  | Performing duration:
Unit Serial No: |  |  | Date of service:
N | Performance Description | Technical Requirement | Check | Notes/Remarks
1. Preparation works
1.1 | Inform appropriate persons regarding escalator stop and make remarks in log | Tools and PPE should be chosen properly, for this type of works. | □
1.2 | Prepare proper Tools and PPE |  | □
1.3 | Perform proper Lockout/Tagout procedure | The power source should be turn off and hang tags with locks | □
2. Basic maintenance that should be performed on a Monthly basis to maintain the escalator. alignment.
2.1 | Clean comb fingers, check condition and alignment. | Comb fingers shouldn't be bent and properly aligned | □
2.2 | Clean Comb plate and gap. |  | □
2.3 | Check step Risers for damage. |  | □
2.4 | Clean Floorplate and inspect for damage. | Presence of dirt and damage is not allowed | □
2.5 | Clean and check Handrails condition. | Presence of dust and damage is not allowed | □
2.5 | Check condition of steps, check alignment, examine wheels, tighten step nuts and clean. | Alignment shouldn't be exceeds 1mm | □
2.6 | Check lubricator oil level | Add if abnormal | □
2.7 | Coupling Check for vibration and noise. | Presence of vibration and noise is not allowed | □
2.8 | Check Main Drive Chain for abnormal wear and/or corrosion; check that the chain is adequately lubricated. |  | □
2.9 | Check Skirt Panels clearance force and clean. |  | □
2.1 | Check condition of Safety Strips |  | □
2.11 | Clean Deck Moldings |  | □
2.12 | Clean Interior Panels |  | □
2.13 | Check Newel Ends for any unusual noise or temperature and clean. |  | □
2.14 | Comb fingers, Tighten screws. |  | □
2.15 | Check alignment of Step Guide Rollers. |  | □
2.16 | Check condition of Handrail Drive Chains. |  | □
2.17 | Check condition of Step Chain. |  | □
2.18 | Check Main Drive Shaft sprocket wear. |  | □
2.19 | Check condition Tension Carriage. |  | □
Safety procedures:
1. Lockout/tagout the unit electrical, flammable and mechanical source;
გამოირთოს და ჩაიკეტოს ყველა ელექტრო, აალებადი და მექანიკური მიწოდებები;
2. Use proper PPE (Personal Protective Equipment): Gloves, Goggles, helmet, Safety boots, safety belts for work higher than 1.8m, Noise protection earplugs.
გამოყენებული უნდა იქნას სათანადო პდს (პერსონალური დაცვის საშუალებები): ხელთათმანები, დამცავი სათვალეები, ჩაფხუტი, დაცული ფეხსაცმელი, უსაფრთხოების ქამრები 1.8მ–ზე მაღალ სიმაღლეებზე მუშაობისას, ხმაურის საწინააღმდეგო ყურსაცობი.
3. Make sure maintained area floor is not slippery.
სამუშაო ადგილზე იატაკი არ უნდა იყოს სრიალა
4. Use special protective equipment for hard to access and confined spaces work locations. Decided by safety manager;
გამოყენებული უნდა იყოს სპეციალური პდს (პერსონალური დაცვის საშუალებები) ზნელად შესაღწევ და შეზრუდულ არეაში მუშაობის დროს. გადაწყვეტილება მიიღება შრომის უსაფრთხოების მენეჯერის მიერ.
5. Make sure all tools are in proper condition.
დარწმუნდით, რომ ყველა ინსტრუმენტი კარგ კონდიციაშია
6. Use proper PPE for work locations by thermal and combustion air.
გამოყენებული უნდა იქნას სათანადო პდს (პერსონალური დაცვის საშუალებები) სადაც ხდება თერმიული პროცესები.
Tools and equipment
1. Mechanical set of tools; /მექანიკური ინსტრუმენტების ნაკრები.
2. Cleaning rags and solutions; /საწმენდი ნაჭრები და საშუალებები
3. Lubricant; საპოხი საშუალება;
4. Vacuum cleaner; /მტვერსასრუტი
Repair works to be performed/ საჭირო სარემონტო სამუშაოების ჩამონათვალი : 1)
VT Supervisor : Paata Pataridze |  |  | Sign: | Date:
Service provider: |  |  | Sign: | Date:

## Quarterly
Preventive Maintenance Checklist For Escalators and Travellators ES-03
Report Form
Performed By: |  |  | Periodicity: Quarterly
Unit ID: |  |  | Performing duration:
Unit Serial No: |  |  | Date of service:
N | Performance Description | Technical Requirement | Check | Notes/Remarks
1. Preparation works
1.1 | Inform appropriate persons regarding escalator stop and make remarks in log | Tools and PPE should be chosen properly, for this type of works. | □
1.2 | Prepare proper Tools and PPE |  | □
1.3 | Perform proper Lockout/Tagout procedure | The power source should be turn off and hang tags with locks | □
2. Basic maintenance that should be performed on a Monthly basis to maintain the escalator. alignment.
2.1 | Clean comb fingers, check condition and alignment. | Comb fingers shouldn't be bent and properly aligned | □
2.2 | Clean Comb plate and gap. |  | □
2.3 | Check step Risers for damage. |  | □
2.4 | Clean Floorplate and inspect for damage. | Presence of dirt and damage is not allowed | □
2.5 | Clean and check Handrails condition. | Presence of dust and damage is not allowed | □
2.5 | Check condition of steps, check alignment, examine wheels, tighten step nuts and clean. | Alignment shouldn't be exceeds 1mm | □
2.6 | Check lubricator oil level | Add if abnormal | □
2.7 | Coupling Check for vibration and noise. | Presence of vibration and noise is not allowed | □
2.8 | Check Main Drive Chain for abnormal wear and/or corrosion; check that the chain is adequately lubricated. |  | □
2.9 | Check Skirt Panels clearance force and clean. |  | □
2.1 | Check condition of Safety Strips |  | □
2.11 | Clean Deck Moldings |  | □
2.12 | Clean Interior Panels |  | □
2.13 | Check Newel Ends for any unusual noise or temperature and clean. |  | □
2.14 | Comb fingers, Tighten screws. |  | □
2.15 | Check alignment of Step Guide Rollers. |  | □
2.16 | Check condition of Handrail Drive Chains. |  | □
2.17 | Check condition of Step Chain. |  | □
2.18 | Check Main Drive Shaft sprocket wear. |  | □
2.19 | Check condition Tension Carriage. |  | □
3. Inspection of Electric wiring and components
3.1 | Check condition of wiring and power components. | Wires and cables should not have a broken insulation or breakages The breakers, contactors and connectors shoukld be checked for overheating. | □
4. Important and vital maintenance
4.1 | Check the Main Drive Chain for proper chain slack |  | □
4.2 | Check the Pawl (backmove preventer) Brake for operation. |  | □
4.3 | Check the Machine Brake torque, check operation |  | □
4.4 | Gear Reducer: Check oil level. Fill if needed w/Mobile Glygoyle 30 synthetic oil. |  | □
4.5 | Check the Combplate Impact switches tripping forces. |  | □
4.6 | Handrail drive chains. Check for elongation of chain and tension. |  | □
4.7 | Step axle sleeves, Lubricate with Mobil RP 501 or equivalent. |  | □
4.8 | Check handrail tension on Take-up device. |  | □
4.9 | Handrail Drive Sheave Pressure Rollers: Check spring force. |  | □
4.1 | Check pump Lubricator. |  | □
Safety procedures:
1. Lockout/tagout the unit electrical, flammable and mechanical source;
გამოირთოს და ჩაიკეტოს ყველა ელექტრო, აალებადი და მექანიკური მიწოდებები;
2. Use proper PPE (Personal Protective Equipment): Gloves, Goggles, helmet, Safety boots, safety belts for work higher than 1.8m, Noise protection earplugs.
გამოყენებული უნდა იქნას სათანადო პდს (პერსონალური დაცვის საშუალებები): ხელთათმანები, დამცავი სათვალეები, ჩაფხუტი, დაცული ფეხსაცმელი, უსაფრთხოების ქამრები 1.8მ–ზე მაღალ სიმაღლეებზე მუშაობისას, ხმაურის საწინააღმდეგო ყურსაცობი.
3. Make sure maintained area floor is not slippery.
სამუშაო ადგილზე იატაკი არ უნდა იყოს სრიალა
4. Use special protective equipment for hard to access and confined spaces work locations. Decided by safety manager;
გამოყენებული უნდა იყოს სპეციალური პდს (პერსონალური დაცვის საშუალებები) ზნელად შესაღწევ და შეზრუდულ არეაში მუშაობის დროს. გადაწყვეტილება მიიღება შრომის უსაფრთხოების მენეჯერის მიერ.
5. Make sure all tools are in proper condition.
დარწმუნდით, რომ ყველა ინსტრუმენტი კარგ კონდიციაშია
6. Use proper PPE for work locations by thermal and combustion air.
გამოყენებული უნდა იქნას სათანადო პდს (პერსონალური დაცვის საშუალებები) სადაც ხდება თერმიული პროცესები.
Tools and equipment
1. Mechanical set of tools; /მექანიკური ინსტრუმენტების ნაკრები.
2. Cleaning rags and solutions; /საწმენდი ნაჭრები და საშუალებები
3. Lubricant; საპოხი საშუალება;
4. Vacuum cleaner; /მტვერსასრუტი
5. Special tools; სპეციალურიიარაღები
Repair works to be performed/ საჭირო სარემონტო სამუშაოების ჩამონათვალი : 1)
VT Supervisor : Paata Pataridze |  |  | Sign: | Date:
Service provider: |  |  | Sign: | Date:

## Semi-Annual
Preventive Maintenance Checklist For Escalators and Travellators ES-06
Report Form
Performed By: |  |  | Periodicity: Semi-Annual
Unit ID: |  |  | Performing duration:
Unit Serial No: |  |  | Date of service:
N | Performance Description | Technical Requirement | Check | Notes/Remarks
1. Preparation works
1.1 | Inform appropriate persons regarding escalator stop and make remarks in log | Tools and PPE should be chosen properly, for this type of works. | □
1.2 | Prepare proper Tools and PPE |  | □
1.3 | Perform proper Lockout/Tagout procedure | The power source should be turn off and hang tags with locks | □
2. Basic maintenance that should be performed on a Semi-Annual basis to maintain the escalator. Alignment.
2.1 | Clean comb fingers, check condition and alignment. | Comb fingers shouldn't be bent and properly aligned | □
2.2 | Clean Comb plate and gap. |  | □
2.3 | Check step Risers for damage. |  | □
2.4 | Clean Floorplate and inspect for damage. | Presence of dirt and damage is not allowed | □
2.5 | Clean and check Handrails condition. | Presence of dust and damage is not allowed | □
2.5 | Check condition of steps, check alignment, examine wheels, tighten step nuts and clean. | Alignment shouldn't be exceeds 1mm | □
2.6 | Check lubricator oil level | Add if abnormal | □
2.7 | Coupling Check for vibration and noise. | Presence of vibration and noise is not allowed | □
2.8 | Check Main Drive Chain for abnormal wear and/or corrosion; check that the chain is adequately lubricated. |  | □
2.9 | Check Skirt Panels clearance force and clean. |  | □
2.1 | Check condition of Safety Strips |  | □
2.11 | Clean Deck Moldings |  | □
2.12 | Clean Interior Panels |  | □
2.13 | Check Newel Ends for any unusual noise or temperature and clean. |  | □
2.14 | Comb fingers, Tighten screws. |  | □
2.15 | Check alignment of Step Guide Rollers. |  | □
2.16 | Check condition of Handrail Drive Chains. |  | □
2.17 | Check condition of Step Chain. |  | □
2.18 | Check Main Drive Shaft sprocket wear. |  | □
2.19 | Check condition Tension Carriage. |  | □
3. Inspection of Electric wiring and components
3.1 | Check condition of wiring and power components. | Wires and cables should not have a broken insulation or breakages The breakers, contactors and connectors shoukld be checked for overheating. | □
4. Important and vital maintenance
4.1 | Check the Main Drive Chain for proper chain slack |  | □
4.2 | Check the Pawl (backmove preventer) Brake for operation. |  | □
4.3 | Check the Machine Brake torque, check operation |  | □
4.4 | Gear Reducer: Check oil level. Fill if needed w/Mobile Glygoyle 30 synthetic oil. |  | □
4.5 | Check the Combplate Impact switches tripping forces. |  | □
4.6 | Handrail drive chains. Check for elongation of chain and tension. |  | □
4.7 | Step axle sleeves, Lubricate with Mobil RP 501 or equivalent. |  | □
4.8 | Check handrail tension on Take-up device. |  | □
4.9 | Handrail Drive Sheave Pressure Rollers: Check spring force. |  | □
4.1 | Check pump Lubricator. |  | □
5. General Mechanical Inspection and repair
5.1 | Check Gear Reducer sprockets for wear. |  | □
5.2 | Check operation of Brake Lining wear detector. |  | □
5.3 | Check operation of Pawl Brake Switch. |  | □
5.4 | Clean the Step Chain track rails. |  | □
5.5 | Lubricate Step Chain Guide Shoe, with Mobil AW2 (Green) or equivalent. |  | □
5.6 | Clean Step Roller track rails |  | □
5.7 | Clean The Up-Thrust Guides . |  | □
5.8 | Clean Turn-around Track Rails |  | □
5.9 | Lubricate the Tension Carriage Rollers with Mobil AW2 (Green) or equivalent. |  | □
5.1 | Check Return Guides for abnormal wear, clean. |  | □
5.11 | Grease step wheel shoe. |  | □
5.12 | Check tension of Step Chain. |  | □
5.13 | Clean lubricator brushes, check tubing condition. |  | □
Safety procedures:
1. Lockout/tagout the unit electrical, flammable and mechanical source;
გამოირთოს და ჩაიკეტოს ყველა ელექტრო, აალებადი და მექანიკური მიწოდებები;
2. Use proper PPE (Personal Protective Equipment): Gloves, Goggles, helmet, Safety boots, safety belts for work higher than 1.8m, Noise protection earplugs.
გამოყენებული უნდა იქნას სათანადო პდს (პერსონალური დაცვის საშუალებები): ხელთათმანები, დამცავი სათვალეები, ჩაფხუტი, დაცული ფეხსაცმელი, უსაფრთხოების ქამრები 1.8მ–ზე მაღალ სიმაღლეებზე მუშაობისას, ხმაურის საწინააღმდეგო ყურსაცობი.
3. Make sure maintained area floor is not slippery.
სამუშაო ადგილზე იატაკი არ უნდა იყოს სრიალა
4. Use special protective equipment for hard to access and confined spaces work locations. Decided by safety manager;
გამოყენებული უნდა იყოს სპეციალური პდს (პერსონალური დაცვის საშუალებები) ზნელად შესაღწევ და შეზრუდულ არეაში მუშაობის დროს. გადაწყვეტილება მიიღება შრომის უსაფრთხოების მენეჯერის მიერ.
5. Make sure all tools are in proper condition.
დარწმუნდით, რომ ყველა ინსტრუმენტი კარგ კონდიციაშია
6. Use proper PPE for work locations by thermal and combustion air.
გამოყენებული უნდა იქნას სათანადო პდს (პერსონალური დაცვის საშუალებები) სადაც ხდება თერმიული პროცესები და გამონაბოლქვის გამოყოფა.
Tools and equipment
1. Mechanical set of tools; /მექანიკური ინსტრუმენტების ნაკრები.
2. Cleaning rags and solutions; /საწმენდი ნაჭრები და საშუალებები
3. Lubricant; საპოხი საშუალება;
4. Vacuum cleaner; /მტვერსასრუტი
5. Special tools; სპეციალურიიარაღები
Repair works to be performed/ საჭირო სარემონტო სამუშაოების ჩამონათვალი : 1)
VT Supervisor : Paata Pataridze |  |  | Sign: | Date:
Service provider: |  |  | Sign: | Date:

## Annual
Priventive Maintenance Checklist For Escalators and Travalators ES-12
Report Form
Performed By: |  |  | Periodicity: Annual
Unit ID: |  |  | Performing duration:
Unit Serial No: |  |  | Date of service:
N | Performance Description | Technical Requirement | Check | Notes/Remarks
1. Preparation works
1.1 | Inform appropriate persons regarding escalator stop and make remarks in log | Tools and PPE should be chosen properly, for this type of works. | □
1.2 | Prepare proper Tools and PPE |  | □
1.3 | Perform proper Loskout/Tagout procedure | The power source should be turn off and hang tags with locks | □
2. Basic maintenance that should be performed on an Annual basis to maintain the escalator. alignment.
2.1 | Clean combfingers, check condition and alignment. | Combfingers shouldn't be bent and properly aligned | □
2.2 | Clean Combplate and gap. |  | □
2.3 | Check step Risers for damage. |  | □
2.4 | Clean Floorplate and inspect for damage. | Presence of dirt and damage is not allowed | □
2.5 | Clean and check Handrails condition. | Presence of dust and damage is not allowed | □
2.5 | Check condition of steps, check alignment, examine wheels, tighten step nuts and clean. | Alignment shouldn't be exceeds 1mm | □
2.6 | Check lubricator oil level | Add if abnormal | □
2.7 | Coupling Check for vibration and noise. | Presence of vibration and noise is not allowed | □
2.8 | Check Main Drive Chain for abnormal wear and/or corrosion; check that the chain is adequately lubricated. |  | □
2.9 | Check Skirt Panels clearance force and clean. |  | □
2.1 | Check condition of Safety Strips |  | □
2.11 | Clean Deck Moldings |  | □
2.12 | Clean Interior Panels |  | □
2.13 | Check Newel Ends for any unusual noise or temperature and clean. |  | □
2.14 | Combfingers, Tighten screws. |  | □
2.15 | Check alignmen of Step Guide Rollers. |  | □
2.16 | Check condition of Handrail Drive Chains. |  | □
2.17 | Check condition of Step Chain. |  | □
2.18 | Check Main Drive Shaft sprocket wear. |  | □
2.19 | Check condition Tension Carriage. |  | □
3. Inspection of Electric wiring and components
3.1 | Check condition of wiring and power components. | Wires and cables should not have a broken insulation or breakages The breakers, contactors and connectors shoukld be checked for overheating. | □
4. Important and vital maintenance
4.1 | Check the Main Drive Chain for proper chain slack |  | □
4.2 | Check the Pawl (backmove preventer) Brake for operation. |  | □
4.3 | Check the Machine Brake torque, check operation |  | □
4.4 | Gear Reducer: Check oil level. Fill if needed w/Mobile Glygoyle 30 synthetic oil. |  | □
4.5 | Check the Combplate Impact switches tripping forces. |  | □
4.6 | Handrail drive chains. Check for elongation of chain and tension. |  | □
4.7 | Step axle sleeves, Lubricate with Mobil RP 501 or equivalent. |  | □
4.8 | Check handrail tension on Take-up device. |  | □
4.9 | Handrail Drive Sheave Pressure Rollers: Check spring force. |  | □
4.1 | Check pump Lubricator. |  | □
5. General Mechanical Inspection and repair
5.1 | Check Gear Reducer sprockets for wear. |  | □
5.2 | Check operation of Brake Lining wear detector. |  | □
5.3 | Check operation of Pawl Brake Switch. |  | □
5.4 | Clean the Step Chain track rails. |  | □
5.5 | Lubricate Step Chain Guide Shoe, with Mobil AW2 (Green) or equivalent. |  | □
5.6 | Clean Step Roller track rails |  | □
5.7 | Clean The Up-Thrust Guides . |  | □
5.8 | Clean Turn-around Track Rails |  | □
5.9 | Lubricate the Tension Carriage Rollers with Mobil AW2 (Green) or equivalent. |  | □
5.1 | Check Return Guides for abnormal wear, clean. |  | □
5.11 | Grease step wheel shoe. |  | □
5.12 | Check tension of Step Chain. |  | □
5.13 | Clean lubricator brushes, check tubing condition. |  | □
6. General lubrication works
6.1 | Motor Bearings. Replenish grease | Use Shell Dolium R or Chevron SR1. | □
6.2 | Main Drive Bearings. Add grease to grease fittings | Use Mobil AW2 (Green) or equivalent. | □
6.3 | Tension Carriage Bearings. Add grease to fittings. | Use Mobil AW2 (Green) or equivalent. | □
6.4 | Handrail Drive Bearings. Add Grease to grease fittings. | Use Mobil AW2 (Green) or equivalent. | □
6.5 | Gear Reducer. Change oil . | Use Mobil Glygoyle 30 synthetic oil or equivalent. | □
Safety procedures:
1. Lockout/tagout the unit electrical, flamable and mechanical source;
გამოირთოს და ჩაიკეტოს ყველა ელექტრო, აალებადი და მექანიკური მიწოდებები;
2. Use proper PPE (Prsonnal Protective Equipment): Gloves, Goggles, hemlet, Safety boots, safety belts for workhigher than 1.8m, Noise protection earplugs.
გამოყენებული უნდა იქნას სათანადო პდს (პერსონალური დაცვის საშუალებები): ხელთათმანები, დამცავი სათვალეები, ჩაფხუტი, დაცული ფეხსაცმელი, უსაფრთხოების ქამრები 1.8მ–ზე მაღალ სიმაღლეებზე მუშაობისას, ხმაურის საწინააღმდეგო ყურსაცობი.
3. Make sure maintined area floor is not slippery.
სამუშაო ადგილზე იატაკი არ უნდა იყოს სრიალა
4. Use special protective equipment for hard to access and confined speases work locations. Desided by safety manager;
გამოყენებული უნდა იყოს სპეციალური პდს (პერსონალური დაცვის საშუალებები) ზნელად შესაღწევ და შეზრუდულ არეაში მუშაობის დროს. გადაწყვეტილება მიიღება შრომის უსაფრთხოების მენეჯერის მიერ.
5. Make sure all tools are in proper condition.
დარწმუნდით, რომ ყველა ინსტრუმენტი კარგ კონდიციაშია
6. Use proper PPE for work locations by thermal and combustion air.
გამოყენებული უნდა იქნას სათანადო პდს (პერსონალური დაცვის საშუალებები) სადაც ხდება თერმიული პროცესები და გამონაბოლქვის გამოყოფა.
Tools and equipmet
1. Mechanical set of tools; /მექანიკური ინსტრუმენტების ნაკრები.
2. Cleaning rags and solutions; /საწმენდი ნაჭრები და საშუალებები
3. Lubricant; საპოხი საშუალება;
4. Vacuum cleaner; /მტვერსასრუტი
5. Special tools; სპეციალურიიარაღები
Repair works to be performed/ საჭირო სარემონტო სამუშაოების ჩამონათვალი : 1)
VT Supervisor : Paata Pataridze |  |  | Sign: | Date:
Service provider: |  |  | Sign: | Date: